SECTION 01 23 00

ALTERNATES

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 1 Specification Sections, apply to this Section.

1.2	SUMMARY

    - This Section includes:  Administrative and procedural requirements for Alternates.

      - Acceptance or rejection of each Alternate is at discretion of the Trustees.  None, any, or all Alternates may be accepted or rejected by the Trustees in order of precedence.

    - Requirements and descriptions for products and scopes of Work identified as Alternates in the Drawings and Specifications and listed as “Bid Alternative “on the Bid Proposal Form.

    - Included in this Section:  non-technical descriptions of Alternates listed by number only on the Bid Proposal.

    - Included in other Sections:  technical specifications for work revising or adding/deducting from Base Bid work by Alternates.

    - Unless otherwise specifically provided, the work described in Alternates shall be completed with no increase in Contract Time.

    - The additional cost or credit for each Alternate shall represent the total adjustment to the contract sum associated with said Alternate.

    - Refer to the Bid Proposal Form for information concerning order of acceptance of alternates.

    - All labor, material, equipment, accessories, and incidental items required for a complete installation shall be included, whether or not specifically mentioned as part of the Alternate. Contractor shall perform necessary modifications or adjustments to affected adjacent work, whether new or existing, in order to fully and properly integrate the Alternate work into the Project. These necessary modifications and adjustments shall be included in the Alternate

1.3	QUALITY ASSURANCE

A.	The Base Bid specifications shall govern work of Alternates unless otherwise noted.

1.4	GENERAL REQUIREMENTS FOR ALTERNATES

    - Coordination:

      - Determine the full effect on the Work of implementing each Alternate, including coordination, modification or adjustment of portions of the Work.  Contract Amount included on the Bid Form for each Alternate includes the cost for all work required to incorporate the Alternate.

      - To enable University to compare total costs where alternative materials and methods might be used or where scope of Work might be altered, Bid Alternate Work items have been established as described in this Section.

3.	Unless otherwise noted, Alternates will be accepted in the order listed until the Construction Budget is reached.

A.	Contract Amount included in Base Bid and as stated in executed Agreement shall include all costs for Work described in Contract Documents.

C.	Bid Proposal Form or other means prescribed for submission of proposed cost of Work shall include line items for each Alternate described in this Section.  No Alternates other than as described in this Section shall be submitted, except in accordance with product options and substitutions provisions specified in Section 01 25 00, Substitution Procedures.

D.	Each Alternative is identified herein by number.  This identification shall be used whenever referring to Work described in Alternate and when submitting cost proposals and payment requests.

E.	Alternative construction described in Alternates and revised scopes of Work shall be performed only when such Alternate is made a part of the Work by specific provision in the University-Contractor Agreement, if selected by University prior to execution of the Agreement, or by Change Order or Change Directive if selected subsequent to execution of the Agreement.

********************************************************************************************

F.	Costs for Alternates shall be valid for no less than [insert appropriate no. of days (30, 60, 90?)_] calendar days from date of Notice to Proceed and University may select any or all Alternates during that time.  Once an Alternate is selected and the Contract modified for Work as described in the Alternate, changes to return to original scope of Work will be made only by Change Order or Change Directive in accordance with provisions of the Contract General Conditions for changes.

MAKE THIS PROJECT SPECIFIC

****************************************************************************************************

PART 2 - PRODUCTS AND EXECUTION

2.1

A.	If University elects to proceed on the basis of one or more of the described Alternates, Contractor shall make all modifications to Work as required to provide products complete, in place and fully functional, including all labor, equipment, services and incidental consumables necessary to apply, install and finish Work described in Alternate in accordance with requirements specified in related product Sections of these Specifications.

B.	Cost for Alternates shall be complete and include all net increases and decreases in Contract Amount for Work described in Alternate and for all changes in related Work.  No claims for additional costs to University will be honored other than as stated in cost proposal for each Alternate.

2.2 	SCHEDULE OF ALTERNATES [THIS SECTION TO BE MODIFIED BY CAMPUS AS REQUIRED]

A.	Additive Alternate Bid No. 1 - [_Title_].

1.	Base Bid condition:  [_Brief Description_].

2.	Alternate Bid condition:  [_Brief Description_].

      - Location in contract documents [Spec Section and / or Drawing Sheet No.]

B.	Additive Alternate Bid No. 2 - [_Title_].

1.	Base Bid condition:  [_Brief Description_]

2. 	Alternate Bid condition:  [_Brief Description_].

3. 	Location in contract documents [Spec Section and / or Drawing Sheet No.]

    - Deductive Alternate Bid No. 1 [Title]

      - Base Bid condition:  [_Brief Description_].

      - Alternate Bid condition:  [_Brief Description_].

      - Location in contract documents [Spec Section and / or Drawing Sheet No.]

END OF SECTION