SECTION 01 35 53

SECURITY

- GENERAL

      - RELATED DOCUMENTS

        - Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 01 Specification Sections, apply to this Section.

      - SECTION INCLUDES

        - Contractor Security requirements.

      - SECURITY (Also refer to Contract General Conditions)

        - Protect the Work from theft, vandalism and unauthorized entry. Contractor shall have sole responsibility for job site security.

        - Maintain security throughout construction until the University’s occupancy or acceptance.

        - Provide keying different from permanent keying of locks and include organized, locked and supervised storage for receiving and dispensing items of finish hardware throughout the construction.

        - Provide the Project Inspector with keys necessary to gain access to locked areas of the Work. The Project Inspector will be responsible for such keys and will return them to the Contractor upon acceptance of the project or area as complete.

      - ENTRY CONTROL

        - Restrict entrance of persons and vehicles into project site.

        - Allow building entrance only to authorized persons with proper identification.

      - PERMANENT KEYS

        - Immediately upon receipt of permanent keys for whatever purpose (finish hardware, mechanical equipment, casework, dispensers, lockers, switches, equipment items, etc.), tag or otherwise clearly identify keys according to one approved system and turn them over to the University prior to any opportunity of access to keys by parties other than the University.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION