SECTION 01 56 39

TEMPORARY TREE AND PLANT PROTECTION

- GENERAL

      - RELATED DOCUMENTS

        - Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 01 Specification Sections, apply to this Section.

      - SECTION INCLUDES

        - Requirements to preserve, protect, and prune as necessary existing trees and shrubs, and other vegetation indicated to remain.

        - All trees and plant materials to remain on site shall be protected from all trades working on the job, and it shall be the Contractor's responsibility to insure that all subcontractors are aware of and held responsible for any damage to existing trees and plant material.  In addition, Contractor shall be held responsible to insure that following protective measures are carried out throughout the entire construction period.

        - Maintenance: Throughout the life of the construction project, the Contractor shall be responsible for overseeing the watering, fertilizing, pruning, and other measures necessary to protect all existing trees, lawns, shrubs, groundcover and other plants.

      - RELATED REQUIREMENTS

        - Section 01 57 00 – Temporary Controls

        - Section 01 57 23 – Storm Water Prevention Pollution.

        - Division 32 – Exterior Improvements:  Landscaping specifications related to trees, shrubs and ground covers, as applicable.

      - QUALITY ASSURANCE

        - Arborist:  Contractor shall engage and pay a Certified Arborist who will be responsible for supervising implementation of tree and plant protection measures specified in this Section.

          - Arborist shall be subject to acceptance by University's Representative.

          - Arborist registered by the American Society of Consulting Arborists.

          - Submit evidence contract with acceptable Certified Arborist prior to commencing site mobilization activities.

- PRODUCTS

      - BARRIERS

        - Barriers:  As specified in Section 01 57 10 – Existing Finish Protection.

      - FERTILIZER

        - Fertilizer:  Unless otherwise directed by University's Representative, type and quantity of fertilizer shall be determined by soil agronomist engaged and paid by Contractor, who is acceptable to University's Representative.

          - As basis for bidding, fertilizer shall be Romeo "Greenbelt" 22-14-14 tree fertilizer or approved equal at 4 lb. fertilizer dissolved in 100 gallons water.

        - Accessory Materials:  As determined by Contractor as necessary for sustained health of trees and plants, subject to acceptance by University's Representative.  Accessory materials shall include mulch, tree and plant stakes and temporary covers.

- EXECUTION

      - PROTECTION

        - Protection:  Prior to construction activities, especially demolition and excavation, on the site, Contractor shall submit to University's Representative evidence of a contract with a Certified Arborist who shall be responsible for supervising implementation of the following tree protection measures.

          - Protect all existing trees, shrubs and ground covers from stockpiling, material storage including soil, vehicle parking and driving within the tree drip line.  Restrict foot traffic to prevent excessive compacting of soil over root systems.

          - Protect root systems of existing trees, shrubs, and ground covers from damage due to chemically injurious materials in solution caused by runoff and spillage during mixing, placement of construction materials, and drainage from stored materials.

          - Protect root system from flooding, erosion, excessive wetting and drying resulting from de-watering and other operations.

          - Above-ground surface runoff shall not be directed into the tree canopy area from adjacent areas.  Ensure that sidewalks or other construction do not trap water near the tree.  Coordinate with requirements specified in Section 01 57 00 - Temporary Controls.

          - Protect existing plant materials from unnecessary cutting, breaking and skinning of roots and branches, skinning and bruising of bark.

          - Use no soil sterilants under pavement near existing trees.

          - Do not allow fires under and adjacent to existing trees or plants.

        - Maintenance:  Throughout duration of the Contract, Contractor shall be responsible for irrigation, fertilizing, pruning, and other measures necessary to protect and nurture all existing trees, plants, ground covers and lawns indicated to remain in Project.

      - PRUNING

        - Engage the Consulting Arborist registered by the American Society of Consulting Arborists, or approved equal. Arborist shall direct removal of branches from trees and large shrubs, and correctional pruning and cabling of specified trees that are to remain, if required to clear new construction and where indicated. Arborist shall also direct necessary tree root pruning and relocation work.

        - Where indicated by University Representative, extend pruning operation to restore natural shape of entire tree using only Western Chapter ISA Pruning Standards.

        - Cut branches and roots with sharp pruning instruments.  Do not break, chop, or mutilate.

        - Pruning of existing trees shall concern itself with removing all dead wood 1/2" or greater in size, removing vines and/or sucker growth.  Tree cavities existing on all oak trees are to be cleaned of wood rot.  The procedure for each tree may vary and will need to be approved by the Consulting Arborist prior to commencing work.

        - Tree limbs in the way of proposed buildings shall only be trimmed by reputable ISA Certified Arborist or ISA Certified Climber and shall approved by Owner's Representative.

      - IRRIGATION

        - Irrigate trees and other vegetation that are to remain as necessary to maintain their health before, during and after the course of the work as directed by the Consulting Arborist.  Maintain an irrigation schedule and document.  Submit schedule to Owner's Representative for review and acceptance.

        - If the soil within the drip line of the tree is compacted, then prior to watering or fertilizing trees, the area within the drip line of the tree shall be rototilled to loosely break up the top two (2) inches of existing soil.

        - All trees shall be deep root watered by the use of an injection needle to a depth of eighteen (18) inches.  Needle shall be inserted into the ground five (5) feet apart in concentric rings around the tree; each ring is four (4) feet wider than the previous one.  This process shall continue out to the drip line of the tree.

        - Trees greater than twelve (12) inches in caliper shall be watered during the first month of construction using 800 gallons of water per tree [actual amount TBD].  For trees less than twelve (12) inches in caliper, 600 gallons of water shall be used per tree [actual amount TBD].  This procedure shall be repeated every six (6) months, in addition to the normal watering schedule.

      - FERTILIZING

        - All trees shall be fertilized before, during, and after construction by pumping under pressure directly 18-inches into root zone as directed by Certified Arborist.

      - EXCAVATION AROUND TREES

        - Excavate within drip lines of trees only where indicated.

        - Where trenching for utilities is required within drip lines, tunnel under and around roots of 2 1/2" diameter or larger by hand digging.  Do not cut main lateral roots that are 2" or larger.  Cut smaller roots that are smaller than 2" which interfere with installation of new work.  Use sharp approved pruning tools.  Pipes should be routed into an alternate location to avoid conflict, wherever possible.

        - Where excavating for new construction is required within drip lines of trees, hand excavate to minimize damage to root systems.  Use narrow tine spading forks and comb soil to expose roots.  Relocate roots in backfill areas wherever possible.  If large, main lateral roots are encountered, expose beyond excavation limits as required to bend and relocate without breaking.

        - If encountered immediately adjacent to location of new construction and relocation is not practical, cut roots approximately six (6) inches back from new construction.  Cover cut ends with plastic sandwich bag.

        - Do not allow exposed roots to dry out before permanent backfill is placed.  Provide temporary earth cover, pack with wet peat moss or four (4) layers of wet untreated burlap and temporarily support, and protect from damage until permanently relocated and covered with backfill.  Water to eliminate voids and air pockets.

        - Thin branching structure in accordance with Western Chapter, ISA Pruning Standards to balance loss to root system caused by damage or cutting of root system.  Thinning shall not exceed 30% of existing branching structure.

      - GRADING AND FILLING AROUND TREES

        - Maintain existing grade within drip line of trees unless otherwise indicated.  Any grade change shall be limited to six (6) inches of cut or fill from the original grade and shall be accomplished by hand.  Under all [Campus to insert types of trees] trees there shall be no grade change under at least the inner 50% of the tree canopy.

        - Lowering Grades:  where existing grade is above new finish grade shown around trees, carefully hand excavate within drip line to new grade.  Cut roots exposed by excavation to approximately three (3) inches below elevation of new finish grade.

        - Raising Grades: permitted only as acceptable to University Representative.

        - If building pads or foundations are to be constructed within the fenced areas or if the existing landscape is to be altered by the addition of fill or reduced by excavation, the University Representative shall be notified prior to this work.  Measures as approved by the University Representative, such as small retaining walls or subgrade aeration lines, may be required to mitigate construction procedures affecting the tree.

      - REPAIR AND REMOVAL OF TREES

        - Repair and Removal of Trees:  Certified Arborist and University's Representative will determine whether trees shall be restored or removed.  Treat and restore trees damaged by construction operations in a manner acceptable to University's Representative.  Perform restoration and pruning promptly after damage occurs to prevent progressive deterioration of damaged trees.  If trees cannot be restored, equitable adjustment to Contract Sum shall be made to compensate University for loss, in accordance with the Contract General Conditions.

          - Remove dead and damaged trees that are determined by Certified Arborist to be incapable of restoration to normal growth pattern.

          - Contractor shall be liable for all damage and necessary restoration actions to existing trees, including trunk, branches, or roots.  Restoration shall be performed under direction of Certified Arborist.

      - REPAIR AND REPLACEMENT OF SHRUBS AND GROUND COVER

        - Repair shrubs and other vegetation damaged by construction operations in a manner acceptable to University Representative. Make repairs promptly after damage occurs to prevent progressive deterioration of damaged plant.

        - Remove and replace all dead and damaged plants that are determined by the University Representative to be incapable of restoration to normal growth pattern.

          - Provide new shrubs of same size and species as those replaced or as acceptable to the University Representative.

          - Plant and maintain as specified under Division 32.

        - Repairs and Replacements of Shrubs and Ground Cover:  Repair shrubs and other vegetation damaged by construction operation in manner acceptable to University's Representative.

          - Make repairs promptly after damage occurs to prevent progressive deterioration of damaged plant.  Remove and replace all dead and damaged plants up to six-inch diameter, which are determined by University's Representative as being incapable of restoration to normal growth pattern.

          - Provide new shrubs of same size and species as those replaced or as acceptable to the University's Representative.

      - COMPENSATION TO UNIVERSITY FOR LOST AND DAMAGED TREES

        - The Contractor shall be liable for the loss in value to damaged trees and for all repair or replacement costs resulting from construction operations as determined by the University Representative. Because of the irreplaceable nature of many of the existing trees, the amount of assessment shall be determined by the University Representative, depending upon tree species, condition before damage, and location value.

        - Designated sums shall be governed by applicable provisions of the Contract General Conditions

END OF SECTION